## Calibrations
Weather notes:
CCD Mode: Red Slow
[5 empty] | Schedule | Total time: 25:00 | CCD Readout time: 0:20
FIle number | Target | Filter | Exposure Time (s) | Comments | Elapsed Time | Item | Notes
3074 | Bias | d57 | 0 |  | 0:00 | Review GUI setup | Make sure mirror is covered
3075 | Bias | d57 | 0 |  | 3:00 | Bias (x7) | Set exposure to 0.0
3076 | Bias | d57 | 0 |  | 7:00 | Science Dark (x1, 6:00)
3077 | Bias | d57 | 0 |  | 14:00 | Test dome flat (0:10) | Open mirror cover, turn on Dome Flat lamps.Given counts, estimate integration time for the rest of the flats
3078 | Bias | d57 | 0 |  | 15:00 | Dome flat (x3, 0:10?) | Integration time estimated from test flat. Adjust if necessary.
3079 | Bias | d57 | 0 |  | 18:00 | Test arc (x1, 0:05) | Turn off dome lamps. Turn on Ne and Ar arc lamps. Verify H_alpha is within spectral range. Start time has 1min buffer if integration time is increased after the test flat.
3080 | Bias | d57 | 0 |  | 19:00 | Arc (x3, 0:05)
3081 | Science Dark | d57 | 360 |  | 21:00 | Darks for flats (x3, 0:10)
3082 | Dome Flat | d57 | 10 | test but good
3083 | Dome Flat | d57 | 10
3084 | Dome Flat | d57 | 10
3085 | Arc Lamp | d57 | 5 | test but good
3086 | Arc Lamp | d57 | 5
3087 | Arc Lamp | d57 | 5
Flats notes:
In general, you will need a number of flats well exposed at the red end in order to get a reasonable total number of counts at the blue end. When you are calculating the statistcal accuracy of your flats, remember to convert from DNs to electrons. In general to do dome flats you will want to configure the telescope and dome as follows: Open the mirror cover. Turn off lights in the dome. Set the diagonal position to either 3 or 4. Turn on the appropriate flat field lamp. Take test exposures to determine appropriate exposure time. Take flat fields (Note, in general the slit width and length for dome flats should match what you intend to use on the sky for data acquisition). When completed, please turn off the lamps.

## Observations
Weather notes: | Seeing ~1"
Shane 3m Kast Spectrograph | [6 empty] | CCD Mode: Red Slow
[5 empty] | Schedule | Total time: 30:00 | CCD Readout time: 0:20
FIle number | Target | Filter | Exposure Time | Comments | Elapsed Time | Item | Notes
3111 | UGC 11876 | Kast Red | 360 |  | 0:00 | Review GUI setup | Make sure mirror is uncovered
3112 | UGC 11876 | Kast Red | 360 |  | 2:00 | Ensure proper setup | filter, decker, grating, grating angle,slit PA
3113 | UGC 11876 | Kast Red | 360 |  | 4:00 | Get object in field | An assistant will help with this process
[5 empty] | 11:00 | Begin science frames (6min each) | Try to get 3 images